## Sheet1
registro | duracao_segundos | frequencia_amostragem_Hz | frequencia_cardiaca_media_bpm | n_canais | canais | comentarios | N | L | R | A | V | F
100 | 1805.56 | 360 | 75.54 | 2 | MLII, V5 | 69 M 1085 1629 x1 ¦ Aldomet, Inderal | 2239 | 0 | 0 | 33 | 1 | 0
101 | 1805.56 | 360 | 62.27 | 2 | MLII, V1 | 75 F 1011 654 x1 ¦ Diapres | 1860 | 0 | 0 | 3 | 0 | 0
102 | 1805.56 | 360 | 72.83 | 2 | V5, V2 | 84 F 1525 167 x1 ¦ Digoxin ¦ The rhythm is paced with a demand pacemaker. The PVCs are multiform. | 99 | 0 | 0 | 0 | 4 | 0
103 | 1805.56 | 360 | 69.47 | 2 | MLII, V2 | -1 M 742 654 x1 ¦ Diapres, Xyloprim | 2082 | 0 | 0 | 2 | 0 | 0
104 | 1805.56 | 360 | 76.78 | 2 | V5, V2 | 66 F 1567 694 x1 ¦ Digoxin, Pronestyl ¦ The rate of paced rhythm is close to that of the underlying sinus rhythm, ¦ resulting in many pacemaker fusion beats. The PVCs are multiform. Several ¦ bursts of muscle noise occur, but the signals are generally of good quality. | 163 | 0 | 0 | 0 | 2 | 0
105 | 1805.56 | 360 | 89.44 | 2 | MLII, V1 | 73 F 1624 1629 x1 ¦ Digoxin, Nitropaste, Pronestyl ¦ The PVCs are uniform. The predominant feature of this tape is ¦ high-grade noise and artifact. | 2526 | 0 | 0 | 0 | 41 | 0
106 | 1805.56 | 360 | 69.72 | 2 | MLII, V1 | 24 F 1581 654 x1 ¦ Inderal ¦ The PVCs are multiform. | 1507 | 0 | 0 | 0 | 520 | 0
107 | 1805.56 | 360 | 71.11 | 2 | MLII, V1 | 63 M 1340 167 x1 ¦ Digoxin ¦ Complete heart block is present. The PVCs are multiform. | 0 | 0 | 0 | 0 | 59 | 0
108 | 1805.56 | 360 | 60.6 | 2 | MLII, V1 | 87 F 1227 654 x1 ¦ Digoxin, Quinaglute ¦ There is borderline first degree AV block and sinus arrhythmia. The ¦ PVCs are multiform. The lower channel exhibits considerable noise and ¦ baseline shifts. | 1739 | 0 | 0 | 4 | 17 | 2
109 | 1805.56 | 360 | 84.22 | 2 | MLII, V1 | 64 M 1508 694 x1 ¦ Quinidine ¦ There is first degree AV block. The PVCs are multiform. | 0 | 2492 | 0 | 0 | 38 | 2
111 | 1805.56 | 360 | 70.88 | 2 | MLII, V1 | 47 F 937 167 x1 ¦ Digoxin, Lasix ¦ There is first degree AV block. There are short bursts of both baseline ¦ shifts and muscle noise, but in general, the quality is excellent. | 0 | 2123 | 0 | 0 | 1 | 0
112 | 1805.56 | 360 | 84.72 | 2 | MLII, V1 | 54 M 903 654 x2 ¦ Digoxin, Pronestyl ¦ There is S-T segment depression in the upper channel. | 2537 | 0 | 0 | 2 | 0 | 0
113 | 1805.56 | 360 | 59.65 | 2 | MLII, V1 | 24 F 1240 2851 x1 ¦ None ¦ The variation in the rate of normal sinus rhythm is possibly due to a ¦ wandering atrial pacemaker. | 1789 | 0 | 0 | 0 | 0 | 0
114 | 1805.56 | 360 | 62.8 | 2 | V5, MLII | 72 F 750 1629 x1 ¦ Digoxin ¦ The PVCs are uniform. | 1820 | 0 | 0 | 10 | 43 | 4
115 | 1805.56 | 360 | 65.17 | 2 | MLII, V1 | 39 F 994 167 x2 ¦ None | 1953 | 0 | 0 | 0 | 0 | 0
116 | 1805.56 | 360 | 80.45 | 2 | MLII, V1 | 68 M 1453 1629 x2 ¦ None ¦ There are two PVC forms. | 2302 | 0 | 0 | 1 | 109 | 0
117 | 1805.56 | 360 | 51.12 | 2 | MLII, V2 | 69 M 950 654 x2 ¦ None | 1534 | 0 | 0 | 1 | 0 | 0
118 | 1805.56 | 360 | 76.46 | 2 | MLII, V1 | 69 M 1456 653 x2 ¦ Digoxin, Norpace ¦ The PVCs are multiform. | 0 | 0 | 2166 | 96 | 16 | 0
119 | 1805.56 | 360 | 69.58 | 2 | MLII, V1 | 51 F 1129 654 x2 ¦ Pronestyl ¦ The PVCs are uniform. | 1543 | 0 | 0 | 0 | 444 | 0
121 | 1805.56 | 360 | 62.32 | 2 | MLII, V1 | 83 F 1245 167 x2 ¦ Digoxin, Isordil, Nitropaste | 1861 | 0 | 0 | 1 | 1 | 0
122 | 1805.56 | 360 | 82.36 | 2 | MLII, V1 | 51 M 640 654 x2 ¦ Digoxin, Lasix, Pronestyl ¦ The lower channel has low-amplitude high-frequency noise throughout. | 2476 | 0 | 0 | 0 | 0 | 0
123 | 1805.56 | 360 | 50.47 | 2 | MLII, V5 | 63 F 1482 694 x2 ¦ Digoxin, Inderal ¦ The PVCs are uniform and interpolated. | 1515 | 0 | 0 | 0 | 3 | 0
124 | 1805.56 | 360 | 54.28 | 2 | MLII, V4 | 77 M 1199 653 x2 ¦ Digoxin, Isordil, Quinidine ¦ The PVCs are multiform. The junctional escape beats follow PVCs. | 0 | 0 | 1531 | 2 | 47 | 5
200 | 1805.56 | 360 | 92.77 | 2 | MLII, V1 | 64 M 1953 3655 x1 ¦ Digoxin, Quinidine ¦ The PVCs are multiform. There are occasional bursts of high-frequency ¦ noise in the upper channel, and severe noise and artifact in the lower ¦ channel. | 1743 | 0 | 0 | 30 | 826 | 2
201 | 1805.56 | 360 | 67.75 | 2 | MLII, V1 | 68 M 1960 2851 x1 ¦ Digoxin, Hydrochlorthiazide, Inderal, KCl ¦ The PVCs are uniform and late-cycle. Junctional escape beats occur following ¦ episodes of ventricular trigeminy. | 1625 | 0 | 0 | 30 | 198 | 2
202 | 1805.56 | 360 | 71.31 | 2 | MLII, V1 | 68 M 1960 2851 x1 ¦ Digoxin, Hydrochlorthiazide, Inderal, KCl ¦ The PVCs are uniform and late-cycle. This record was taken from the same ¦ analog tape as record 201. | 2061 | 0 | 0 | 36 | 19 | 1
203 | 1805.56 | 360 | 103.29 | 2 | MLII, V1 | 43 M 1878 356 x1 ¦ Coumadin, Digoxin, Heparin, Hygroton, Lasix ¦ The PVCs are multiform. There are QRS morphology changes in the upper ¦ channel due to axis shifts. There is considerable noise in both channels, ¦ including muscle artifact and baseline shifts. This is a very difficult ¦ record, even for humans! | 2529 | 0 | 0 | 0 | 444 | 1
205 | 1805.56 | 360 | 88.78 | 2 | MLII, V1 | 59 M 1957 694 x2 ¦ Digoxin, Quinaglute ¦ The PVCs are of two forms, one of which is much more common than the other. | 2571 | 0 | 0 | 3 | 71 | 11
207 | 1805.56 | 360 | 79.25 | 2 | MLII, V1 | 89 F 859 694 x1 ¦ Digoxin, Quinaglute ¦ This is an extremely difficult record. The predominant rhythm is normal ¦ sinus with first degree AV block and left bundle branch block. There are ¦ periods when the conduction block changes to a right bundle branch block ¦ pattern. The PVCs are multiform. Idioventricular rhythm appears following ¦ the longest episode of ventricular flutter. The record ends during the ¦ episode of SVTA. | 0 | 1457 | 86 | 107 | 105 | 0
208 | 1805.56 | 360 | 101 | 2 | MLII, V1 | 23 F 2546 N/A x1 ¦ None ¦ The PVCs are uniform. The couplets, many of which include a fusion PVC, are ¦ often seen in a bigeminal pattern. The triplets each consist of two ¦ PVCs and a fusion PVC. | 1586 | 0 | 0 | 0 | 992 | 373
209 | 1805.56 | 360 | 101.42 | 2 | MLII, V1 | 62 M 1202 654 x1 ¦ Aldomet, Hydrodiuril, Inderal | 2621 | 0 | 0 | 383 | 1 | 0
210 | 1805.56 | 360 | 89.2 | 2 | MLII, V1 | 89 M 2461 694 x1 ¦ None ¦ The PVCs are multiform. | 2423 | 0 | 0 | 0 | 194 | 10
212 | 1805.56 | 360 | 91.81 | 2 | MLII, V1 | 32 F 2879 171 x1 ¦ None ¦ There is rate-related right bundle branch block which appears when the heart ¦ rate exceeds approximately 90 bpm. | 923 | 0 | 1825 | 0 | 0 | 0
213 | 1805.56 | 360 | 109.43 | 2 | MLII, V1 | 61 M 2817 1629 x1 ¦ Digoxin ¦ The PVCs are multiform and usually late-cycle, frequently resulting in ¦ fusion PVCs. The morphology of the fusion PVCs varies from almost normal ¦ to almost identical to that of the PVCs. | 2641 | 0 | 0 | 25 | 220 | 362
214 | 1805.56 | 360 | 76.31 | 2 | MLII, V1 | 53 M 3189 1629 x1 ¦ Digoxin, Dilantin ¦ The PVCs are multiform. There are two episodes of artifactual amplitude ¦ decrease and one occurrence of tape slippage. | 0 | 2003 | 0 | 0 | 256 | 1
215 | 1805.56 | 360 | 112.98 | 2 | MLII, V1 | 81 M 2633 694 x1 ¦ None ¦ The PVCs are multiform. There are two very short occurrences of tape slippage ¦ (each less than one second in duration). | 3195 | 0 | 0 | 3 | 164 | 1
217 | 1805.56 | 360 | 75.78 | 2 | MLII, V1 | 65 M 2450 653 x1 ¦ Digoxin, Lasix, Quinidine ¦ The PVCs are multiform. | 244 | 0 | 0 | 0 | 162 | 0
219 | 1805.56 | 360 | 76.85 | 2 | MLII, V1 | -1 M 978 654 x1 ¦ Digoxin ¦ Following some conversions from atrial fibrillation to normal sinus ¦ rhythm are pauses up to 3 seconds in duration. The PVCs are multiform. | 2082 | 0 | 0 | 7 | 64 | 1
220 | 1805.56 | 360 | 68.73 | 2 | MLII, V1 | 87 F 1543 654 x2 ¦ Digoxin | 1954 | 0 | 0 | 94 | 0 | 0
221 | 1805.56 | 360 | 81.81 | 2 | MLII, V1 | 83 M 1268 694 x1 ¦ Hydrochlorthiazide, Lasix ¦ The PVCs are multiform, but one form is much more common than the others. | 2031 | 0 | 0 | 0 | 396 | 0
222 | 1805.56 | 360 | 87.52 | 2 | MLII, V1 | 84 F 1633 1629 x1 ¦ Digoxin, Quinidine ¦ The episodes of paroxysmal atrial flutter/fibrillation are usually ¦ followed by nodal escape beats. There are several intervals of ¦ high-frequency noise/artifact in both channels. | 2062 | 0 | 0 | 208 | 0 | 0
223 | 1805.56 | 360 | 87.83 | 2 | MLII, V1 | 73 M 3070 654 x2 ¦ None ¦ The PVCs are multiform. The two longest episodes of ventricular tachycardia ¦ are slow (100 to 105 bpm) and bidirectional. | 2029 | 0 | 0 | 72 | 473 | 14
228 | 1805.56 | 360 | 71.14 | 2 | MLII, V1 | 80 F 2775 1629 x1 ¦ Digoxin, Norpace ¦ There is first degree AV block. The PVCs are multiform. There are ¦ three short occurrences of tape slippage with a maximum duration of 2.2 ¦ seconds. | 1688 | 0 | 0 | 3 | 362 | 0
230 | 1805.56 | 360 | 81.94 | 2 | MLII, V1 | 32 M 2992 3655 x2 ¦ Dilantin | 2255 | 0 | 0 | 0 | 1 | 0
231 | 1805.56 | 360 | 66.81 | 2 | MLII, V1 | 72 F 2009 2851 x2 ¦ None ¦ AV conduction is quite abnormal with periods of 2:1 AV block, examples ¦ of Mobitz II block, and right bundle branch block which appears to be ¦ rate-related. The couplet is probably ventricular. | 314 | 0 | 1254 | 1 | 2 | 0
232 | 1805.56 | 360 | 60.38 | 2 | MLII, V1 | 76 F 2777 3655 x2 ¦ Aldomet, Inderal ¦ The rhythm is compatible with sick sinus syndrome. There is underlying ¦ sinus bradycardia, first degree AV block, and frequent ectopic atrial runs ¦ at rates of 80 to 90 bpm. There are numerous long pauses up to 6 seconds ¦ in duration. | 0 | 0 | 397 | 1382 | 0 | 0
233 | 1805.56 | 360 | 104.72 | 2 | MLII, V1 | 57 M 1682 654 x2 ¦ Dilantin ¦ The PVCs are multiform. | 2230 | 0 | 0 | 7 | 831 | 11
234 | 1805.56 | 360 | 91.86 | 2 | MLII, V1 | 56 F 1971 3655 x2 ¦ None ¦ The PVCs are uniform. | 2700 | 0 | 0 | 0 | 3 | 0